03-06-2023

Multiple Target Detection using Through-Wall Imaging

Common detail

Date is collected using: 2-port Anristu VNA, one Vivaldi antenna

Operating frequency range: 1.5 GHz -3.5 GHz

Distance from antenna to wall ~50 cm

Distance from ground to scanner ~ 70cm

Size of metal Sheet ~ 30*30 cm2

Size of wooden cart ~ 40*40 cm2

Total # of scans =28

Set 1: Single target at different distance from the wall

Data Set 1:

| Distance from the wall | Wood (Location of folder) | Triangular Teflon (Location of folder) | Metal (Location of folder) |
| --- | --- | --- | --- |
| 30cm | - | 1354 | - |
| 50cm | 1311 | 1339 | 1358 |
| 100cm | 1317 | 1336 | - |
| 150cm | 1325 | 1332 | 1401 |
| 200cm | - | - | 1405 |

Fig -Wood at D=100cm                                     Fig -Wood at D=100cm

Fig -Teflon at D=30cm                                   Fig -Teflon at D=50cm

Fig -Teflon at D=100cm                                   Fig -Teflon at D=150cm

Fig -Metal at D=50cm                Fig -Metal at D=150cm              Fig -Metal at D=200cm

Set 2: Multiple targets at different distance from the wall

Data Set 2:

| S.no | Distance from the wall | Metal, Teflon, Teflon (Location of folder) | Raw data image |
| --- | --- | --- | --- |
|  | M=1.5m W=1.0m T=0.5m | 1746 |  |
|  | M=1.0m W=0.5m T=0.3m | 1801 |  |
|  | M=0.5m W=1.0m T=0.3m | 1809 |  |
|  | M=0.5m W=0.5m T=0.5m | 1817 |  |

Set 3: Two targets at different distance from the wall

Data Set 3:

| Distance from the wall | Metal, Teflon, Teflon (Location of folder) |  | Raw data image |
| --- | --- | --- | --- |
| M=1.5m W=1.0m | 1827 |  |  |
| M=1.0m W=1.5m | 1834 |  |  |
| M=1.5m W=0.5m | 2240 |  |  |
| M=0.5m W=1.5m | 2359 |  |  |
| M=1.5m W=1.5m | 5 |  |  |
| M=1.0m W=1.0m | 9 |  |  |
| M=0.5m W=0.5m | 14 |  |  |